## Introduction
This spreadsheet takes the Macro Element results from a Triton test, and estimates the salinity of the original sample from that data.
Once the salinity is estimated, then the results can be adjusted to show what the values would be if the sample had been salinity-adjusted to S=35.00.
TO USE:
Enter values for Na, Ca, Mg, K, Br, B, Sr, and S from your Triton results in Cells D3 through D10 in the "Calculation" worksheet. The Triton setpoint values for these elements are there as placeholders.
Enter also your tank's total alkalinity in dKh in cell D13, and the temperature in degrees Celcius in cell D14.
The calculated salinity will be shown in cell I14, and results normalized to S=35.000 will be shown in the range I16:S17.
HOW IT WORKS:
The short version:
Triton Macro Element results do not report certain major constitutents of the saltwater. The constituents not reported are Chloride, Fluoride, and the Alkalinity.
Of these, Fluoride and Alkalinity contribute very little to salinity. Only Chloride contributes significantly to salinity.
This spreadsheet assumes a NSW value for Fluoride, asks the user for an Alkalinity value, and then calculates the amount of Chloride that must be present.
The total amount of salts in g/ml can then be calculated, which gives us the salinity.
The long version:
There are the following major constituents of seawater (Pilson, 1998): Na+, Mg++, Ca++, K+, Sr++, Cl-, SO4--, Br-, F-, B(OH)3, and the various ions that make up "Alkalinity", OH-, HCO3-, CO3--, and CO.
Triton reports all of the cations, but only some of the anions. Since the sum of the charges in solution should balance, we can compute the total charge of the missing anions.
The amount of F- is estimated to be NSW levels, and the amounts of the various alkalinity ions are estimated based on an input parameter from the user for alkalinity.
Triton reports the SO4-- as elemental S, and B(OH)3 as B, so in order to calculate the total mass of salts in the solution, we must convert S to SO4--, and B to B(OH)3.
Once we estimate the amount of missing Cl-, we can then calculate the g/l of total salts in the sample, convert the units to g/kg at the specified temperature, and compare that to the TEOS-10 value of 35.16504 g/kg (Millero, 2008) for seawater with a Salinity of 35 on the PSS scale.
Results are then normalized to S=35.000, and shown both in mg/kg and mg/L at the specified temperature.
The following steps are taken to perform the calculations:
1) Convert S to SO4 and B to B(OH)3
2) Convert g/l to mmol/l for all ions (treate boric acid as undisassociated)
3) Convert mmol/l of each to charge
4) Sum all the cation charges
5) Sum the known anion charges
6) Find the missing anion charge - that's the amount of Cl
7) Convert the Cl charge to g/l
8) Now we can sum all the g/l
9) Convert to g/kg
10) S = g/kg * 35 / 35.16504
NOTES:
The "Molecular Weight" value for "Alkalinity" is calculated from polynomial equations that take total alkalinity and temperature as inputs.
These polynomial equations are derived from data for the relative concentrations of the different species of ions that make up alkalinity over a wide range of total alkalinity values and temperatures.
The conversion of units from mg/l to mg/kg at a given temperature uses the density of NSW with a salinity of 35. If the sample's salinity was significantly different from 35, then this will introduce small errors.
References:
Millero, F. J., R. Feistel, D. G. Wright and T. J. McDougall, 2008: The composition of Standard Seawater and the definition of the Reference-Composition Salinity Scale, Deep-Sea Res. I, 55, 50-72.
Pilson, Michael E.Q., 1998: An Introduction to the Chemistry of the Sea

## Calculation
Inputs | [5 empty] | Cations |  |  |  |  | Anions |  |  |  |  | Undisassociated
Na | mg/l | 12610 |  |  |  | Na+ | Ca++ | Mg++ | K+ | Sr++ | Cl- | SO42- | Alkalinity | Br- | F- | B(OH)3
Ca | mg/l | 549 |  |  | Molar mass | 22.9898 | 40.078 | 24.305 | 39.0983 | 87.62 | 35.453 | 96.062 | 53.0459 | 79.904 | 18.9984 | 61.833
Mg | mg/l | 1583 |  |  | Moles | 548.5049 | 13.6983 | 65.1306 | 11.7908 | 0.10934 | ????? | 28.1995 | 2.8571 | 0.836 | 0.069916 | 0.69469
K | mg/l | 461 |  |  | Charge | 548.5049 | 27.3966 | 130.2613 | 11.7908 | 0.21867 | ????? | 56.399 | 2.8571 | 0.836 | 0.069916 | 0
Br | mg/l | 66.8 |  |  | Total Charge | 718.1722 |  |  |  |  | 60.162
B | mg/l | 7.51 | as B(OH)3: | 42.955 | Charge Difference | [5 empty] | 658.0101
Sr | mg/l | 9.58 |  |  | Moles Cl- | [5 empty] | 658.0101
S | mg/l | 904 | as SO42-: | 2708.8983 | mg/l Cl | [5 empty] | 23328.4334
[5 empty] | mg/l | 12610 | 549 | 1583 | 461 | 9.58 | 23328.4334 | 2708.8983 | 151.5597 | 66.8 | 1.3283 | 42.955
Assumptions |  |  |  |  | mg/kg | 12322.3585 | 536.477 | 1546.8908 | 450.4843 | 9.3615 | 22796.2981 | 2647.1067 | 148.1025 | 65.2763 | 1.298 | 41.9751
Total alkalinity | dKh | 8 | as meq/kg: | 2.792 | Total g/kg | 40.5237
Temperature | C | 25 | Density: | 1.0233 | S (PSS-78) | 40.3335
F | mg/l | 1.3283 |  |  | Normalization factor | 0.86777
[5 empty] | Normalized mg/kg | 10692.921 | 465.5364 | 1342.3389 | 390.9149 | 8.1236 | 19781.8474 | 2297.0687 | 128.5183 | 56.6445 | 1.1264 | 36.4246
[5 empty] | Normalized mg/l | 10942.5265 | 476.4034 | 1373.6732 | 400.04 | 8.3132 | 20243.6163 | 2350.6893 | 131.5183 | 57.9668 | 1.1527 | 37.2749